## 1 MW - Ground Mounted - HT Sync
1000 KW - Grround Mounted - Bill of Material
Sl no |  | Description of Supply Items | Make | UOM | Qty | Rate | Amount | GST
1 | Solar PV Modules | Solar PV module 540Wp | APS/ Premier/N Icon | MTR | 1852 | 7290 | 13501080 | 1620129.6
2 | Inverters - 250 KW | Grid Connect Solar Inverter (1 x 250 KW 800V AC, 50Hz, MPPT), DC:AC = 1.5 max | Solis/ APS/Polycab | Nos | 4 | 410000 | 1640000 | 196800
3 | Power Cables | 1C X 6 Sq.mm. EN Flexible Cu.1.5KV grade Solar Cable (Array Interconnection & forming string to Inverter) | Polycab/Lapp | MTR | 10000 | 52 | 520000 | 93600
4 |  | 3C X 150 Sq.mm XLPE Armoured Alu. PVC Insulated & PVC Sheathed 1.1 KV FR Grade Cable | Polycab/Universal | MTR | 500 | 680 | 340000 | 61200
5 |  | 3C X 300 Sq.mm XLPE Armoured Alu.PVC Insulated & PVC Sheathed 1.1 KV FR Grade Cable | Polycab/Universal | MTR | 60 | 1250 | 75000 | 13500
6 |  | 1C X 16 Sq.mm. 1.1KV FR Flexible Cu.1.1KV Cable for LA Earthing | Polycab/Universal | MTR | 60 | 300 | 18000 | 3240
7 | Panel Mounting Structure | Module mounting Penetrating type - 28 MMS Gavanized Structure | Galvanized | KGs | 25000 | 100 | 2500000 | 450000
8 | Inverter Mounting Structure | Inverter Mounting structure with canopy | Reputed make | Nos | 4 | 8000 | 32000 | 5760
9 | Earthing | Lightning Arrestor ESE/Conventional Type with Counter _Mytrah Version | Torq | Nos | 2 | 32000 | 64000 | 11520
10 |  | Earthing Kit 40 mm (dia)X 2 M (LG) Copper Bonded maintenance free Electrode | Reputed make | MTR | 18 | 3000 | 54000 | 9720
11 |  | Earthing Strip Galvanized Iron , 25 X 3 MM | Hot Dip | KG | 1500 | 82 | 123000 | 22140
12 |  | Earthing Strip Galvanized Iron, 50 X 6 MM | Reputed make | KGs | 500 | 150 | 75000 | 13500
13 | Metering and Protection Devices | Inverter Termination Box - DCDB | Reputed make | Nos | 4 | 55000 | 220000 | 39600
14 |  | 4 IN 1 OUT AC LTDB 250A 4P MCCB & 1000A ACB with metering & protection devises like SPD,Breakers etc | Switch Gear - L&T / Schnider/ Siemens ,Fabricated as per customized design. | Nos | 1 | 500000 | 500000 | 90000
15 |  | Weather monitoring system | Reputed make | Nos | 1 | 100000 | 100000 | 18000
16 |  | SCADA | Reputed make | Nos | 1 | 200000 | 200000 | 36000
17 | Switch Yard | Step Up Power Transformer - 1200 KVA 0.80/33 KV | Esanner/... | Nos | 1 | 1600000 | 1600000 | 288000
18 |  | VCB Panel 33 KV with Merering & protection Control | CG / ABB | Nos | 1 | 700000 | 700000 | 126000
19 |  | HT Swich Yard | Reputed make | Nos | 1 | 500000 | 500000 | 90000
20 | Services | Installation and Commissioning with Civil Work | Reputed make | Wp | 1000000 | 2.75 | 2750000 | 495000
21 |  | Design and Engineering | Reputed make | Wp | 1000000 | 0.2 | 200000 | 36000
22 |  | Approvals: NREDCAP, Discom, SLDC & synchronization.. Etc | Reputed make | Wp | 700000 | 1 | 700000 | 126000
23 | DWC Pipes | DWC Pipes | UV Protected | MTR | 1600 | 45 | 72000 | 12960
24 | Hardware Misc | Hardware Misc | Reputed make |  |  |  | 200000 | 36000
25 | Logistics and Storage | Transport & Misc | Reputed make |  |  |  | 100000 | 18000
[5 empty] | TOTAL |  | 26784080 | 3912669.6
S.NO | Other Scope Of Works |  | Amount
1 | 1000 KW System Cost |  | 26784080
2 | CEIG |  | 130000
3 | Module Cleaning System |  | 70000
4 | Inverter Stands and ACDB flatform |  | 50000
5 | Shed for Inverter and ACDB |  | 35000
6 | RS 485 Cable |  | 50000
TOTAL |  |  | 27119080
PER KW RATE |  |  | 27119.08

## 700KW - Ground Mounted - LT Syn
700 KW - Grround Mounted - Bill of Material
Sl no |  | Description of Supply Items | Make | UOM | Qty | Rate | Amount | GST
1 | Solar PV Modules | Solar PV module 540Wp | APS/ Premier/N Icon | MTR | 1296 | 7290 | 9447840 | 1133740.8
2 | Inverters - 250 KW | Grid Connect Solar Inverter (1 x 250 KW 800V AC, 50Hz, MPPT), DC:AC = 1.5 max | Solis/ APS/Polycab | Nos | 3 | 410000 | 1230000 | 147600
3 | Power Cables | 1C X 6 Sq.mm. EN Flexible Cu.1.5KV grade Solar Cable (Array Interconnection & forming string to Inverter) | Polycab/Lapp | MTR | 7500 | 52 | 390000 | 70200
4 |  | 3.5C X 150 Sq.mm XLPE Armoured Alu. PVC Insulated & PVC Sheathed 1.1 KV FR Grade Cable | Polycab/Universal | MTR | 300 | 675 | 202500 | 36450
5 |  | 3.5C X 300 Sq.mm XLPE Armoured Alu.PVC Insulated & PVC Sheathed 1.1 KV FR Grade Cable | Polycab/Universal | MTR | 60 | 1250 | 75000 | 13500
6 |  | 1C X 16 Sq.mm. 1.1KV FR Flexible Cu.1.1KV Cable for LA Earthing | Polycab/Universal | MTR | 60 | 300 | 18000 | 3240
7 | Panel Mounting Structure | Module mounting Penetrating type - 28 MMS Gavanized Structure | Galvanized | KGs | 17500 | 100 | 1750000 | 315000
8 | Inverter Mounting Structure | Inverter Mounting structure with canopy | Reputed make | Nos | 3 | 8000 | 24000 | 4320
9 | Earthing | Lightning Arrestor ESE/Conventional Type with Counter _Mytrah Version | Torq | Nos | 1 | 32000 | 32000 | 5760
10 |  | Earthing Kit 40 mm (dia)X 2 M (LG) Copper Bonded maintenance free Electrode | Reputed make | MTR | 12 | 3000 | 36000 | 6480
11 |  | Earthing Strip Galvanized Iron , 25 X 3 MM | Hot Dip | KG | 1100 | 82 | 90200 | 16236
12 |  | Earthing Strip Galvanized Iron, 50 X 6 MM | Reputed make | KGs | 0 | 150 | 0 | 0
13 | Metering and Protection Devices | Inverter Termination Box - DCDB | Reputed make | Nos | 3 | 55000 | 165000 | 29700
14 |  | 4 IN 1 OUT AC LTDB 250A 4P MCCB & 800 A ACB with metering & protection devises like SPD,Breakers etc | Switch Gear - L&T / Schnider/ Siemens ,Fabricated as per customized design. | Nos | 1 | 500000 | 500000 | 90000
15 |  | Weather monitoring system | Reputed make | Nos | 1 | 100000 | 100000 | 18000
16 |  | SCADA | Reputed make | Nos | 0 | 200000 | 0 | 0
20 | Services | Installation and Commissioning with Civil Work | Reputed make | Wp | 700000 | 2.75 | 1925000 | 346500
21 |  | Design and Engineering | Reputed make | Wp | 700000 | 0.2 | 140000 | 25200
22 |  | Approvals: NREDCAP, Discom, SLDC & synchronization.. Etc | Reputed make | Wp | 700000 | 0.75 | 525000 | 94500
23 | DWC Pipes | DWC Pipes | UV Protected | MTR | 1100 | 45 | 49500 | 8910
24 | Hardware Misc | Hardware Misc | Reputed make |  |  |  | 200000 | 36000
25 | Logistics and Storage | Transport & Misc | Reputed make |  |  |  | 100000 | 18000
[5 empty] | TOTAL |  | 17000040 | 2419336.8
S.NO | Other Scope Of Works |  | Amount
1 | 700 KW System Cost |  | 17000040
2 | CEIG |  | 130000
3 | Module Cleaning System |  | 70000
4 | Inverter Stands and ACDB flatform |  | 50000
5 | Shed for Inverter and ACDB |  | 35000
6 | RS 485 Cable |  | 50000
TOTAL |  |  | 17335040
PER KW RATE |  |  | 24764.3429